## Start here
Demo data hall — filled import template
Only the Devices sheet is needed to start. Every other sheet is optional and makes the simulation more accurate.
Dark blue columns are required, light blue are optional. Hover a header for help. Grey example rows can be overwritten or deleted.
CSV works too: one file per sheet (devices.csv, cables.csv, racks.csv, power.csv, networks.csv, cooling.csv, readings.csv) with the same column names.
Sheets
Devices — what sits where. From the model name we fill in size, weight, power, airflow and the inside of the device.
Cables — every power, network and storage cable, end to end. Enables the Cabling view (trace any cable), the Power view and the Network view.
Racks — which racks stand in which row. Without it, all racks from Devices are placed in one row.
Power — utility, UPS, panels, breakers and PDUs. Enables the power diagram, "what if feed A fails" and overload checks.
Networks — your VLANs. Colours links in the Network view.
Cooling — air conditioning and liquid cooling. Enables cooling-vs-heat checks and "what if AC-1 stops".
Readings — history exported from your monitoring tool (Zabbix, SolarWinds, PRTG, Grafana …). Makes the simulation match your real room.
Unknown model names are fine: they become a plain box of the right height and you can identify them later.

## Devices
rack | u | model | name | role | height_u | power_cords | serial | owner | warranty_end | runs
R11 | 42 | Juniper MX204 | rtr-01 | router |  |  | JN121AB | Network | 2027-03-31
R11 | 41 | FortiGate 600F | fw-01 | firewall |  |  | FG6H0F1 | Security | 2026-11-30
R11 | 40 | 24-port LC fiber patch panel | pp-r11 | patch panel | 1
R11 | 36 | Cisco Nexus 9364C | spine-01 | spine |  |  | FDO2111 | Network | 2028-06-30
R11 | 33 | Cisco Catalyst 9300-48T | oob-01 | access |  |  |  | Network
R12 | 42 | Juniper MX204 | rtr-02 | router |  |  | JN122AB | Network | 2027-03-31
R12 | 41 | FortiGate 600F | fw-02 | firewall |  |  | FG6H0F2 | Security | 2026-11-30
R12 | 40 | 24-port LC fiber patch panel | pp-r12 | patch panel | 1
R12 | 36 | Cisco Nexus 9364C | spine-02 | spine |  |  | FDO2211 | Network | 2028-06-30
R12 | 33 | Cisco Catalyst 9300-48T | oob-02 | access |  |  |  | Network
R11 | 31 | Opengear CM8100 | con-01 | console |  |  |  | Network
R13 | 40 | 24-port LC fiber patch panel | pp-r13 | patch panel | 1
R13 | 30 | Brocade G620 | fc-01 | SAN switch |  |  |  | Storage | 2027-01-31
R13 | 31 | Brocade G620 | fc-02 | SAN switch |  |  |  | Storage | 2027-01-31
R13 | 20 | NetApp AFF A400 | san-01 | storage |  |  | NA4001 | Storage | 2028-09-30 | VM datastore; backups
R01 | 42 | 24-port LC fiber patch panel | pp-r01 | patch panel | 1
R01 | 40 | Cisco Nexus 93180YC-FX | leaf-r01a | leaf |  |  |  | Network | 2027-08-31
R01 | 39 | Cisco Nexus 93180YC-FX | leaf-r01b | leaf |  |  |  | Network | 2027-08-31
R01 | 2 | Dell PowerEdge R650 | k8s-0101 | server |  |  | SNR0100 | Platform | 2028-05-31 | Kubernetes prod
R01 | 3 | Dell PowerEdge R650 | k8s-0102 | server |  |  | SNR0101 | Platform | 2028-05-31 | Kubernetes prod
R01 | 4 | Dell PowerEdge R650 | k8s-0103 | server |  |  | SNR0102 | Platform | 2028-05-31 | Kubernetes prod
R01 | 5 | Dell PowerEdge R650 | k8s-0104 | server |  |  | SNR0103 | Platform | 2028-05-31 | Kubernetes prod
R01 | 6 | Dell PowerEdge R650 | k8s-0105 | server |  |  | SNR0104 | Platform | 2028-05-31 | Kubernetes prod
R01 | 7 | Dell PowerEdge R650 | k8s-0106 | server |  |  | SNR0105 | Platform | 2028-05-31 | Kubernetes prod
R01 | 8 | Dell PowerEdge R650 | k8s-0107 | server |  |  | SNR0106 | Platform | 2028-05-31 | Kubernetes prod
R01 | 9 | Dell PowerEdge R650 | k8s-0108 | server |  |  | SNR0107 | Platform | 2028-05-31 | Kubernetes prod
R02 | 42 | 24-port LC fiber patch panel | pp-r02 | patch panel | 1
R02 | 40 | Cisco Nexus 93180YC-FX | leaf-r02a | leaf |  |  |  | Network | 2027-08-31
R02 | 39 | Cisco Nexus 93180YC-FX | leaf-r02b | leaf |  |  |  | Network | 2027-08-31
R02 | 2 | Dell PowerEdge R650 | k8s-0201 | server |  |  | SNR0200 | Platform | 2028-05-31 | Kubernetes prod
R02 | 3 | Dell PowerEdge R650 | k8s-0202 | server |  |  | SNR0201 | Platform | 2028-05-31 | Kubernetes prod
R02 | 4 | Dell PowerEdge R650 | k8s-0203 | server |  |  | SNR0202 | Platform | 2028-05-31 | Kubernetes prod
R02 | 5 | Dell PowerEdge R650 | k8s-0204 | server |  |  | SNR0203 | Platform | 2028-05-31 | Kubernetes prod
R02 | 6 | Dell PowerEdge R650 | k8s-0205 | server |  |  | SNR0204 | Platform | 2028-05-31 | Kubernetes prod
R02 | 7 | Dell PowerEdge R650 | k8s-0206 | server |  |  | SNR0205 | Platform | 2028-05-31 | Kubernetes prod
R02 | 8 | Dell PowerEdge R650 | k8s-0207 | server |  |  | SNR0206 | Platform | 2028-05-31 | Kubernetes prod
R02 | 9 | Dell PowerEdge R650 | k8s-0208 | server |  |  | SNR0207 | Platform | 2028-05-31 | Kubernetes prod
R03 | 42 | 24-port LC fiber patch panel | pp-r03 | patch panel | 1
R03 | 40 | Cisco Nexus 93180YC-FX | leaf-r03a | leaf |  |  |  | Network | 2027-08-31
R03 | 39 | Cisco Nexus 93180YC-FX | leaf-r03b | leaf |  |  |  | Network | 2027-08-31
R03 | 2 | PE R650 | ci-0301 | server |  |  | SNR0300 | Platform | 2028-05-31 | CI runners
R03 | 3 | PE R650 | ci-0302 | server |  |  | SNR0301 | Platform | 2028-05-31 | CI runners
R03 | 4 | PE R650 | ci-0303 | server |  |  | SNR0302 | Platform | 2028-05-31 | CI runners
R03 | 5 | PE R650 | ci-0304 | server |  |  | SNR0303 | Platform | 2028-05-31 | CI runners
R03 | 6 | PE R650 | ci-0305 | server |  |  | SNR0304 | Platform | 2028-05-31 | CI runners
R03 | 7 | PE R650 | ci-0306 | server |  |  | SNR0305 | Platform | 2028-05-31 | CI runners
R03 | 8 | PE R650 | ci-0307 | server |  |  | SNR0306 | Platform | 2028-05-31 | CI runners
R03 | 9 | PE R650 | ci-0308 | server |  |  | SNR0307 | Platform | 2028-05-31 | CI runners
R04 | 42 | 24-port LC fiber patch panel | pp-r04 | patch panel | 1
R04 | 40 | Cisco Nexus 93180YC-FX | leaf-r04a | leaf |  |  |  | Network | 2027-08-31
R04 | 39 | Cisco Nexus 93180YC-FX | leaf-r04b | leaf |  |  |  | Network | 2027-08-31
R04 | 2 | Dell PowerEdge XE9680 | gpu-0401 | server |  |  | SNR0400 | AI team | 2028-05-31 | vLLM; clinical chatbot
R04 | 8 | Dell PowerEdge XE9680 | gpu-0402 | server |  |  | SNR0401 | AI team | 2028-05-31 | vLLM; clinical chatbot
R05 | 42 | 24-port LC fiber patch panel | pp-r05 | patch panel | 1
R05 | 40 | Cisco Nexus 93180YC-FX | leaf-r05a | leaf |  |  |  | Network | 2027-08-31
R05 | 39 | Cisco Nexus 93180YC-FX | leaf-r05b | leaf |  |  |  | Network | 2027-08-31
R05 | 2 | Dell PowerEdge XE9680 | gpu-0501 | server |  |  | SNR0500 | AI team | 2028-05-31 | vLLM; code assistant
R05 | 8 | Dell PowerEdge XE9680 | gpu-0502 | server |  |  | SNR0501 | AI team | 2028-05-31 | vLLM; code assistant
R06 | 42 | 24-port LC fiber patch panel | pp-r06 | patch panel | 1
R06 | 40 | Cisco Nexus 93180YC-FX | leaf-r06a | leaf |  |  |  | Network | 2027-08-31
R06 | 39 | Cisco Nexus 93180YC-FX | leaf-r06b | leaf |  |  |  | Network | 2027-08-31
R06 | 2 | HPE ProLiant DL380 Gen10 | esx-0601 | server |  |  | SNR0600 | Platform | 2026-12-31 | VMware cluster
R06 | 4 | HPE ProLiant DL380 Gen10 | esx-0602 | server |  |  | SNR0601 | Platform | 2026-12-31 | VMware cluster
R06 | 6 | HPE ProLiant DL380 Gen10 | esx-0603 | server |  |  | SNR0602 | Platform | 2026-12-31 | VMware cluster
R06 | 8 | HPE ProLiant DL380 Gen10 | esx-0604 | server |  |  | SNR0603 | Platform | 2026-12-31 | VMware cluster
R06 | 10 | HPE ProLiant DL380 Gen10 | esx-0605 | server |  |  | SNR0604 | Platform | 2026-12-31 | VMware cluster
R06 | 12 | HPE ProLiant DL380 Gen10 | esx-0606 | server |  |  | SNR0605 | Platform | 2026-12-31 | VMware cluster
R06 | 14 | HPE ProLiant DL380 Gen10 | esx-0607 | server |  |  | SNR0606 | Platform | 2026-12-31 | VMware cluster
R06 | 16 | HPE ProLiant DL380 Gen10 | esx-0608 | server |  |  | SNR0607 | Platform | 2026-12-31 | VMware cluster
R07 | 42 | 24-port LC fiber patch panel | pp-r07 | patch panel | 1
R07 | 40 | Cisco Nexus 93180YC-FX | leaf-r07a | leaf |  |  |  | Network | 2027-08-31
R07 | 39 | Cisco Nexus 93180YC-FX | leaf-r07b | leaf |  |  |  | Network | 2027-08-31
R07 | 2 | HPE ProLiant DL380 Gen10 | esx-0701 | server |  |  | SNR0700 | Platform | 2026-12-31 | VMware cluster
R07 | 4 | HPE ProLiant DL380 Gen10 | esx-0702 | server |  |  | SNR0701 | Platform | 2026-12-31 | VMware cluster
R07 | 6 | HPE ProLiant DL380 Gen10 | esx-0703 | server |  |  | SNR0702 | Platform | 2026-12-31 | VMware cluster
R07 | 8 | HPE ProLiant DL380 Gen10 | esx-0704 | server |  |  | SNR0703 | Platform | 2026-12-31 | VMware cluster
R07 | 10 | HPE ProLiant DL380 Gen10 | esx-0705 | server |  |  | SNR0704 | Platform | 2026-12-31 | VMware cluster
R07 | 12 | HPE ProLiant DL380 Gen10 | esx-0706 | server |  |  | SNR0705 | Platform | 2026-12-31 | VMware cluster
R07 | 14 | HPE ProLiant DL380 Gen10 | esx-0707 | server |  |  | SNR0706 | Platform | 2026-12-31 | VMware cluster
R07 | 16 | HPE ProLiant DL380 Gen10 | esx-0708 | server |  |  | SNR0707 | Platform | 2026-12-31 | VMware cluster
R08 | 42 | 24-port LC fiber patch panel | pp-r08 | patch panel | 1
R08 | 40 | Cisco Nexus 93180YC-FX | leaf-r08a | leaf |  |  |  | Network | 2027-08-31
R08 | 39 | Cisco Nexus 93180YC-FX | leaf-r08b | leaf |  |  |  | Network | 2027-08-31
R08 | 2 | HPE ProLiant DL380 Gen10 | esx-0801 | server |  |  | SNR0800 | Platform | 2028-05-31 | VMware cluster
R08 | 4 | HPE ProLiant DL380 Gen10 | esx-0802 | server |  |  | SNR0801 | Platform | 2028-05-31 | VMware cluster
R08 | 6 | HPE ProLiant DL380 Gen10 | esx-0803 | server |  |  | SNR0802 | Platform | 2028-05-31 | VMware cluster
R08 | 8 | HPE ProLiant DL380 Gen10 | esx-0804 | server |  |  | SNR0803 | Platform | 2028-05-31 | VMware cluster
R08 | 10 | HPE ProLiant DL380 Gen10 | esx-0805 | server |  |  | SNR0804 | Platform | 2028-05-31 | VMware cluster
R08 | 12 | HPE ProLiant DL380 Gen10 | esx-0806 | server |  |  | SNR0805 | Platform | 2028-05-31 | VMware cluster
R09 | 42 | 24-port LC fiber patch panel | pp-r09 | patch panel | 1
R09 | 40 | Cisco Nexus 93180YC-FX | leaf-r09a | leaf |  |  |  | Network | 2027-08-31
R09 | 39 | Cisco Nexus 93180YC-FX | leaf-r09b | leaf |  |  |  | Network | 2027-08-31
R09 | 2 | Dell PowerEdge R740xd | ceph-0901 | server |  |  | SNR0900 | Platform | 2028-05-31 | Ceph object store
R09 | 4 | Dell PowerEdge R740xd | ceph-0902 | server |  |  | SNR0901 | Platform | 2028-05-31 | Ceph object store
R09 | 6 | Dell PowerEdge R740xd | ceph-0903 | server |  |  | SNR0902 | Platform | 2028-05-31 | Ceph object store
R09 | 8 | Dell PowerEdge R740xd | ceph-0904 | server |  |  | SNR0903 | Platform | 2028-05-31 | Ceph object store
R10 | 42 | 24-port LC fiber patch panel | pp-r10 | patch panel | 1
R10 | 40 | Cisco Nexus 93180YC-FX | leaf-r10a | leaf |  |  |  | Network | 2027-08-31
R10 | 39 | Cisco Nexus 93180YC-FX | leaf-r10b | leaf |  |  |  | Network | 2027-08-31
R10 | 2 | Dell PowerEdge R760xa | emb-1001 | server |  |  | SNR1000 | Platform | 2028-05-31 | Embeddings API
R10 | 4 | Dell PowerEdge R760xa | emb-1002 | server |  |  | SNR1001 | Platform | 2028-05-31 | Embeddings API
R10 | 6 | Dell PowerEdge R760xa | emb-1003 | server |  |  | SNR1002 | Platform | 2028-05-31 | Embeddings API
R10 | 8 | Dell PowerEdge R760xa | emb-1004 | server |  |  | SNR1003 | Platform | 2028-05-31 | Embeddings API
R09 | 30 | Dell PowerVault MD1400 | jbod-0901 | storage |  |  | MD14A01 | Platform | 2027-09-30
Note on A1: Rack name, e.g. R01
Note on B1: Lowest U the device occupies (1 = bottom). Empty for zero-U items such as vertical PDUs
Note on C1: Model as you know it, e.g. "Dell R740xd" or "PE R740XD" — we match it to our device library
Note on D1: Your hostname or label. Cables refer to devices by this name
Note on E1: server, switch, router, firewall, storage, patch panel, PDU, UPS, KVM, other — only needed if we do not know the model
Note on F1: Only needed if we do not know the model
Note on G1: Shortcut if you do not fill the Cables sheet: A, B or AB (two cords on two feeds)
Note on I1: Person or team responsible
Note on J1: Date, e.g. 2027-03-31
Note on K1: Apps or services on this device, separated by ;

## Cables
from_device | from_port | to_device | to_port | type | media | speed | length_m | color | label | vlan | route
PDU-R11-A | outlet 1 | rtr-01 | PSU1 | power | C13-C14 |  | 1.5 | red | P-0001 |  | in rack
PDU-R11-B | outlet 1 | rtr-01 | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0002 |  | in rack
PDU-R11-A | outlet 2 | fw-01 | PSU1 | power | C13-C14 |  | 1.5 | red | P-0003 |  | in rack
PDU-R11-B | outlet 2 | fw-01 | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0004 |  | in rack
PDU-R11-A | outlet 3 | spine-01 | PSU1 | power | C13-C14 |  | 1.5 | red | P-0005 |  | in rack
PDU-R11-B | outlet 3 | spine-01 | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0006 |  | in rack
PDU-R11-A | outlet 4 | oob-01 | PSU1 | power | C13-C14 |  | 1.5 | red | P-0007 |  | in rack
PDU-R11-B | outlet 4 | oob-01 | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0008 |  | in rack
PDU-R12-A | outlet 1 | rtr-02 | PSU1 | power | C13-C14 |  | 1.5 | red | P-0009 |  | in rack
PDU-R12-B | outlet 1 | rtr-02 | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0010 |  | in rack
PDU-R12-A | outlet 2 | fw-02 | PSU1 | power | C13-C14 |  | 1.5 | red | P-0011 |  | in rack
PDU-R12-B | outlet 2 | fw-02 | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0012 |  | in rack
PDU-R12-A | outlet 3 | spine-02 | PSU1 | power | C13-C14 |  | 1.5 | red | P-0013 |  | in rack
PDU-R12-B | outlet 3 | spine-02 | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0014 |  | in rack
PDU-R12-A | outlet 4 | oob-02 | PSU1 | power | C13-C14 |  | 1.5 | red | P-0015 |  | in rack
PDU-R12-B | outlet 4 | oob-02 | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0016 |  | in rack
PDU-R13-A | outlet 1 | fc-01 | PSU1 | power | C13-C14 |  | 1.5 | red | P-0017 |  | in rack
PDU-R13-B | outlet 1 | fc-01 | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0018 |  | in rack
PDU-R13-A | outlet 2 | fc-02 | PSU1 | power | C13-C14 |  | 1.5 | red | P-0019 |  | in rack
PDU-R13-B | outlet 2 | fc-02 | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0020 |  | in rack
PDU-R13-A | outlet 3 | san-01 | PSU1 | power | C13-C14 |  | 1.5 | red | P-0021 |  | in rack
PDU-R13-B | outlet 3 | san-01 | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0022 |  | in rack
rtr-01 | xe-0/0/0 | fw-01 | port1 | network | DAC | 10G | 1 | black | N-0001 | 100 | in rack
rtr-02 | xe-0/0/0 | fw-02 | port1 | network | DAC | 10G | 1 | black | N-0002 | 100 | in rack
fw-01 | port17 | spine-01 | Eth1/63 | network | DAC | 25G | 2 | black | N-0003 | 10;20;30;40 | in rack
fw-02 | port17 | spine-02 | Eth1/63 | network | DAC | 25G | 2 | black | N-0004 | 10;20;30;40 | in rack
fw-01 | port18 | spine-02 | Eth1/64 | network | OM4 | 25G | 4 | aqua | N-0005 | 10;20;30;40 | overhead tray T2
fw-02 | port18 | spine-01 | Eth1/64 | network | OM4 | 25G | 4 | aqua | N-0006 | 10;20;30;40;99 | overhead tray T2
oob-01 | Gi1/1/1 | fw-01 | mgmt | network | Cat6A | 1G | 1.5 | yellow | N-0007 | 40 | in rack
oob-02 | Gi1/1/1 | fw-02 | mgmt | network | Cat6A | 1G | 1.5 | yellow | N-0008 | 40 | in rack
con-01 | port 1 | spine-01 | console | console | Cat6A rollover |  | 1.5 | yellow | C-0001 |  | in rack
con-01 | port 2 | fw-01 | console | console | Cat6A rollover |  | 1.5 | yellow | C-0002 |  | in rack
con-01 | port 3 | rtr-01 | console | console | Cat6A rollover |  | 1.5 | yellow | C-0003 |  | in rack
PDU-R01-A | outlet 1 | leaf-r01a | PSU1 | power | C13-C14 |  | 1.5 | red | P-0023 |  | in rack
PDU-R01-B | outlet 1 | leaf-r01a | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0024 |  | in rack
PDU-R01-A | outlet 2 | leaf-r01b | PSU1 | power | C13-C14 |  | 1.5 | red | P-0025 |  | in rack
PDU-R01-B | outlet 2 | leaf-r01b | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0026 |  | in rack
leaf-r01a | Eth1/49 | pp-r01 | port 1 | network | OM4 | 100G | 1 | aqua | N-0009 | 10;20;30;40 | in rack
pp-r01 | port 1 | pp-r11 | port 1 | network | OM4 MPO | 100G | 7.5 | aqua | N-0010 | 10;20;30;40 | overhead tray T1
pp-r11 | port 1 | spine-01 | Eth1/1 | network | OM4 | 100G | 1 | aqua | N-0011 | 10;20;30;40 | in rack
leaf-r01a | Eth1/50 | pp-r01 | port 2 | network | OM4 | 100G | 1 | aqua | N-0012 | 10;20;30;40 | in rack
pp-r01 | port 2 | pp-r12 | port 1 | network | OM4 MPO | 100G | 7.5 | aqua | N-0013 | 10;20;30;40 | overhead tray T1
pp-r12 | port 1 | spine-02 | Eth1/1 | network | OM4 | 100G | 1 | aqua | N-0014 | 10;20;30;40 | in rack
leaf-r01b | Eth1/49 | pp-r01 | port 3 | network | OM4 | 100G | 1 | aqua | N-0015 | 10;20;30;40 | in rack
pp-r01 | port 3 | pp-r11 | port 2 | network | OM4 MPO | 100G | 7.5 | aqua | N-0016 | 10;20;30;40 | overhead tray T1
pp-r11 | port 2 | spine-01 | Eth1/2 | network | OM4 | 100G | 1 | aqua | N-0017 | 10;20;30;40 | in rack
leaf-r01b | Eth1/50 | pp-r01 | port 4 | network | OM4 | 100G | 1 | aqua | N-0018 | 10;20;30;40 | in rack
pp-r01 | port 4 | pp-r12 | port 2 | network | OM4 MPO | 100G | 7.5 | aqua | N-0019 | 10;20;30;40 | overhead tray T1
pp-r12 | port 2 | spine-02 | Eth1/2 | network | OM4 | 100G | 1 | aqua | N-0020 | 10;20;30;40 | in rack
PDU-R01-A | outlet 3 | k8s-0101 | PSU1 | power | C13-C14 |  | 1.5 | red | P-0027 |  | in rack
PDU-R01-B | outlet 3 | k8s-0101 | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0028 |  | in rack
k8s-0101 | NIC1 port1 | leaf-r01a | Eth1/1 | network | DAC | 25G | 3 | black | N-0021 | 10;20 | in rack
k8s-0101 | NIC1 port2 | leaf-r01b | Eth1/1 | network | DAC | 25G | 3 | black | N-0022 | 10;20 | in rack
PDU-R01-A | outlet 4 | k8s-0102 | PSU1 | power | C13-C14 |  | 1.5 | red | P-0029 |  | in rack
PDU-R01-B | outlet 4 | k8s-0102 | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0030 |  | in rack
k8s-0102 | NIC1 port1 | leaf-r01a | Eth1/2 | network | DAC | 25G | 3 | black | N-0023 | 10;20 | in rack
k8s-0102 | NIC1 port2 | leaf-r01b | Eth1/2 | network | DAC | 25G | 3 | black | N-0024 | 10;20 | in rack
PDU-R01-A | outlet 5 | k8s-0103 | PSU1 | power | C13-C14 |  | 1.5 | red | P-0031 |  | in rack
PDU-R01-B | outlet 5 | k8s-0103 | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0032 |  | in rack
k8s-0103 | NIC1 port1 | leaf-r01a | Eth1/3 | network | DAC | 25G | 3 | black | N-0025 | 10;20 | in rack
k8s-0103 | NIC1 port2 | leaf-r01b | Eth1/3 | network | DAC | 25G | 3 | black | N-0026 | 10;20 | in rack
PDU-R01-A | outlet 6 | k8s-0104 | PSU1 | power | C13-C14 |  | 1.5 | red | P-0033 |  | in rack
PDU-R01-B | outlet 6 | k8s-0104 | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0034 |  | in rack
k8s-0104 | NIC1 port1 | leaf-r01a | Eth1/4 | network | DAC | 25G | 3 | black | N-0027 | 10;20 | in rack
k8s-0104 | NIC1 port2 | leaf-r01b | Eth1/4 | network | DAC | 25G | 3 | black | N-0028 | 10;20 | in rack
PDU-R01-A | outlet 7 | k8s-0105 | PSU1 | power | C13-C14 |  | 1.5 | red | P-0035 |  | in rack
PDU-R01-B | outlet 7 | k8s-0105 | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0036 |  | in rack
k8s-0105 | NIC1 port1 | leaf-r01a | Eth1/5 | network | DAC | 25G | 3 | black | N-0029 | 10;20 | in rack
k8s-0105 | NIC1 port2 | leaf-r01b | Eth1/5 | network | DAC | 25G | 3 | black | N-0030 | 10;20 | in rack
PDU-R01-A | outlet 8 | k8s-0106 | PSU1 | power | C13-C14 |  | 1.5 | red | P-0037 |  | in rack
PDU-R01-B | outlet 8 | k8s-0106 | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0038 |  | in rack
k8s-0106 | NIC1 port1 | leaf-r01a | Eth1/6 | network | DAC | 25G | 3 | black | N-0031 | 10;20 | in rack
k8s-0106 | NIC1 port2 | leaf-r01b | Eth1/6 | network | DAC | 25G | 3 | black | N-0032 | 10;20 | in rack
PDU-R01-A | outlet 9 | k8s-0107 | PSU1 | power | C13-C14 |  | 1.5 | red | P-0039 |  | in rack
PDU-R01-B | outlet 9 | k8s-0107 | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0040 |  | in rack
k8s-0107 | NIC1 port1 | leaf-r01a | Eth1/7 | network | DAC | 25G | 3 | black | N-0033 | 10;20 | in rack
k8s-0107 | NIC1 port2 | leaf-r01b | Eth1/7 | network | DAC | 25G | 3 | black | N-0034 | 10;20 | in rack
PDU-R01-A | outlet 10 | k8s-0108 | PSU1 | power | C13-C14 |  | 1.5 | red | P-0041 |  | in rack
PDU-R01-B | outlet 10 | k8s-0108 | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0042 |  | in rack
k8s-0108 | NIC1 port1 | leaf-r01a | Eth1/8 | network | DAC | 25G | 3 | black | N-0035 | 10;20 | in rack
k8s-0108 | NIC1 port2 | leaf-r01b | Eth1/8 | network | DAC | 25G | 3 | black | N-0036 | 10;20 | in rack
PDU-R02-A | outlet 1 | leaf-r02a | PSU1 | power | C13-C14 |  | 1.5 | red | P-0043 |  | in rack
PDU-R02-B | outlet 1 | leaf-r02a | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0044 |  | in rack
PDU-R02-A | outlet 2 | leaf-r02b | PSU1 | power | C13-C14 |  | 1.5 | red | P-0045 |  | in rack
PDU-R02-B | outlet 2 | leaf-r02b | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0046 |  | in rack
leaf-r02a | Eth1/49 | pp-r02 | port 1 | network | OM4 | 100G | 1 | aqua | N-0037 | 10;20;30;40 | in rack
pp-r02 | port 1 | pp-r11 | port 3 | network | OM4 MPO | 100G | 8.1 | aqua | N-0038 | 10;20;30;40 | overhead tray T1
pp-r11 | port 3 | spine-01 | Eth1/3 | network | OM4 | 100G | 1 | aqua | N-0039 | 10;20;30;40 | in rack
leaf-r02a | Eth1/50 | pp-r02 | port 2 | network | OM4 | 100G | 1 | aqua | N-0040 | 10;20;30;40 | in rack
pp-r02 | port 2 | pp-r12 | port 3 | network | OM4 MPO | 100G | 8.1 | aqua | N-0041 | 10;20;30;40 | overhead tray T1
pp-r12 | port 3 | spine-02 | Eth1/3 | network | OM4 | 100G | 1 | aqua | N-0042 | 10;20;30;40 | in rack
leaf-r02b | Eth1/49 | pp-r02 | port 3 | network | OM4 | 100G | 1 | aqua | N-0043 | 10;20;30;40 | in rack
pp-r02 | port 3 | pp-r11 | port 4 | network | OM4 MPO | 100G | 8.1 | aqua | N-0044 | 10;20;30;40 | overhead tray T1
pp-r11 | port 4 | spine-01 | Eth1/4 | network | OM4 | 100G | 1 | aqua | N-0045 | 10;20;30;40 | in rack
leaf-r02b | Eth1/50 | pp-r02 | port 4 | network | OM4 | 100G | 1 | aqua | N-0046 | 10;20;30;40 | in rack
pp-r02 | port 4 | pp-r12 | port 4 | network | OM4 MPO | 100G | 8.1 | aqua | N-0047 | 10;20;30;40 | overhead tray T1
pp-r12 | port 4 | spine-02 | Eth1/4 | network | OM4 | 100G | 1 | aqua | N-0048 | 10;20;30;40 | in rack
PDU-R02-A | outlet 3 | k8s-0201 | PSU1 | power | C13-C14 |  | 1.5 | red | P-0047 |  | in rack
PDU-R02-B | outlet 3 | k8s-0201 | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0048 |  | in rack
k8s-0201 | NIC1 port1 | leaf-r02a | Eth1/1 | network | DAC | 25G | 3 | black | N-0049 | 10;20 | in rack
k8s-0201 | NIC1 port2 | leaf-r02b | Eth1/1 | network | DAC | 25G | 3 | black | N-0050 | 10;20 | in rack
PDU-R02-A | outlet 4 | k8s-0202 | PSU1 | power | C13-C14 |  | 1.5 | red | P-0049 |  | in rack
PDU-R02-B | outlet 4 | k8s-0202 | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0050 |  | in rack
k8s-0202 | NIC1 port1 | leaf-r02a | Eth1/2 | network | DAC | 25G | 3 | black | N-0051 | 10;20 | in rack
k8s-0202 | NIC1 port2 | leaf-r02b | Eth1/2 | network | DAC | 25G | 3 | black | N-0052 | 10;20 | in rack
PDU-R02-A | outlet 5 | k8s-0203 | PSU1 | power | C13-C14 |  | 1.5 | red | P-0051 |  | in rack
PDU-R02-B | outlet 5 | k8s-0203 | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0052 |  | in rack
k8s-0203 | NIC1 port1 | leaf-r02a | Eth1/3 | network | DAC | 25G | 3 | black | N-0053 | 10;20 | in rack
k8s-0203 | NIC1 port2 | leaf-r02b | Eth1/3 | network | DAC | 25G | 3 | black | N-0054 | 10;20 | in rack
PDU-R02-A | outlet 6 | k8s-0204 | PSU1 | power | C13-C14 |  | 1.5 | red | P-0053 |  | in rack
PDU-R02-A | outlet 7 | k8s-0204 | PSU2 | power | C13-C14 |  | 1.5 | red | P-0054 |  | in rack
k8s-0204 | NIC1 port1 | leaf-r02a | Eth1/4 | network | DAC | 25G | 3 | black | N-0055 | 10;20 | in rack
k8s-0204 | NIC1 port2 | leaf-r02b | Eth1/4 | network | DAC | 25G | 3 | black | N-0056 | 10;20 | in rack
PDU-R02-A | outlet 8 | k8s-0205 | PSU1 | power | C13-C14 |  | 1.5 | red | P-0055 |  | in rack
PDU-R02-B | outlet 6 | k8s-0205 | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0056 |  | in rack
k8s-0205 | NIC1 port1 | leaf-r02a | Eth1/5 | network | DAC | 25G | 3 | black | N-0057 | 10;20 | in rack
k8s-0205 | NIC1 port2 | leaf-r02b | Eth1/5 | network | DAC | 25G | 3 | black | N-0058 | 10;20 | in rack
PDU-R02-A | outlet 9 | k8s-0206 | PSU1 | power | C13-C14 |  | 1.5 | red | P-0057 |  | in rack
PDU-R02-B | outlet 7 | k8s-0206 | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0058 |  | in rack
k8s-0206 | NIC1 port1 | leaf-r02a | Eth1/6 | network | DAC | 25G | 3 | black | N-0059 | 10;20 | in rack
k8s-0206 | NIC1 port2 | leaf-r02b | Eth1/6 | network | DAC | 25G | 3 | black | N-0060 | 10;20 | in rack
PDU-R02-A | outlet 10 | k8s-0207 | PSU1 | power | C13-C14 |  | 1.5 | red | P-0059 |  | in rack
PDU-R02-B | outlet 8 | k8s-0207 | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0060 |  | in rack
k8s-0207 | NIC1 port1 | leaf-r02a | Eth1/7 | network | DAC | 25G | 3 | black | N-0061 | 10;20 | in rack
k8s-0207 | NIC1 port2 | leaf-r02b | Eth1/7 | network | DAC | 25G | 3 | black | N-0062 | 10;20 | in rack
PDU-R02-A | outlet 11 | k8s-0208 | PSU1 | power | C13-C14 |  | 1.5 | red | P-0061 |  | in rack
PDU-R02-B | outlet 9 | k8s-0208 | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0062 |  | in rack
k8s-0208 | NIC1 port1 | leaf-r02a | Eth1/8 | network | DAC | 25G | 3 | black | N-0063 | 10;20 | in rack
k8s-0208 | NIC1 port2 | leaf-r02b | Eth1/8 | network | DAC | 25G | 3 | black | N-0064 | 10;20 | in rack
k8s-0201 | NIC2 port1 | leaf-r02a | Eth1/2 | network | DAC | 25G | 3 | black | N-0065 | 10 | in rack
PDU-R03-A | outlet 1 | leaf-r03a | PSU1 | power | C13-C14 |  | 1.5 | red | P-0063 |  | in rack
PDU-R03-B | outlet 1 | leaf-r03a | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0064 |  | in rack
PDU-R03-A | outlet 2 | leaf-r03b | PSU1 | power | C13-C14 |  | 1.5 | red | P-0065 |  | in rack
PDU-R03-B | outlet 2 | leaf-r03b | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0066 |  | in rack
leaf-r03a | Eth1/49 | pp-r03 | port 1 | network | OM4 | 100G | 1 | aqua | N-0066 | 10;20;30;40 | in rack
pp-r03 | port 1 | pp-r11 | port 5 | network | OM4 MPO | 100G | 2 | aqua | N-0067 | 10;20;30;40 | overhead tray T1
pp-r11 | port 5 | spine-01 | Eth1/5 | network | OM4 | 100G | 1 | aqua | N-0068 | 10;20;30;40 | in rack
leaf-r03a | Eth1/50 | pp-r03 | port 2 | network | OM4 | 100G | 1 | aqua | N-0069 | 10;20;30;40 | in rack
pp-r03 | port 2 | pp-r12 | port 5 | network | OM4 MPO | 100G | 8.7 | aqua | N-0070 | 10;20;30;40 | overhead tray T1
pp-r12 | port 5 | spine-02 | Eth1/5 | network | OM4 | 100G | 1 | aqua | N-0071 | 10;20;30;40 | in rack
leaf-r03b | Eth1/49 | pp-r03 | port 3 | network | OM4 | 100G | 1 | aqua | N-0072 | 10;20;30;40 | in rack
pp-r03 | port 3 | pp-r11 | port 6 | network | OM4 MPO | 100G | 8.7 | aqua | N-0073 | 10;20;30;40 | overhead tray T1
pp-r11 | port 6 | spine-01 | Eth1/6 | network | OM4 | 100G | 1 | aqua | N-0074 | 10;20;30;40 | in rack
leaf-r03b | Eth1/50 | pp-r03 | port 4 | network | OM4 | 100G | 1 | aqua | N-0075 | 10;20;30;40 | in rack
pp-r03 | port 4 | pp-r12 | port 6 | network | OS2 MPO | 100G | 8.7 | yellow | N-0076 | 10;20;30;40 | overhead tray T1
pp-r12 | port 6 | spine-02 | Eth1/6 | network | OM4 | 100G | 1 | aqua | N-0077 | 10;20;30;40 | in rack
PDU-R03-A | outlet 3 | ci-0301 | PSU1 | power | C13-C14 |  | 1.5 | red | P-0067 |  | in rack
PDU-R03-B | outlet 3 | ci-0301 | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0068 |  | in rack
ci-0301 | NIC1 port1 | leaf-r03a | Eth1/1 | network | DAC | 25G | 3 | black | N-0078 | 10;20 | in rack
ci-0301 | NIC1 port2 | leaf-r03b | Eth1/1 | network | DAC | 25G | 3 | black | N-0079 | 10;20 | in rack
PDU-R03-A | outlet 4 | ci-0302 | PSU1 | power | C13-C14 |  | 1.5 | red | P-0069 |  | in rack
PDU-R03-B | outlet 4 | ci-0302 | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0070 |  | in rack
ci-0302 | NIC1 port1 | leaf-r03a | Eth1/2 | network | DAC | 25G | 3 | black | N-0080 | 10;20 | in rack
ci-0302 | NIC1 port2 | leaf-r03b | Eth1/2 | network | DAC | 25G | 3 | black | N-0081 | 10;20 | in rack
PDU-R03-A | outlet 5 | ci-0303 | PSU1 | power | C13-C14 |  | 1.5 | red | P-0071 |  | in rack
PDU-R03-B | outlet 5 | ci-0303 | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0072 |  | in rack
ci-0303 | NIC1 port1 | leaf-r03a | Eth1/3 | network | DAC | 25G | 3 | black | N-0082 | 10;20 | in rack
ci-0303 | NIC1 port2 | leaf-r03b | Eth1/3 | network | DAC | 25G | 3 | black | N-0083 | 10;20 | in rack
PDU-R03-A | outlet 6 | ci-0304 | PSU1 | power | C13-C14 |  | 1.5 | red | P-0073 |  | in rack
PDU-R03-B | outlet 6 | ci-0304 | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0074 |  | in rack
ci-0304 | NIC1 port1 | leaf-r03a | Eth1/4 | network | DAC | 25G | 3 | black | N-0084 | 10;20 | in rack
ci-0304 | NIC1 port2 | leaf-r03b | Eth1/4 | network | DAC | 25G | 3 | black | N-0085 | 10;20 | in rack
PDU-R03-A | outlet 7 | ci-0305 | PSU1 | power | C13-C14 |  | 1.5 | red | P-0075 |  | in rack
PDU-R03-B | outlet 7 | ci-0305 | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0076 |  | in rack
ci-0305 | NIC1 port1 | leaf-r03a | Eth1/5 | network | DAC | 25G | 3 | black | N-0086 | 10;20 | in rack
ci-0305 | NIC1 port2 | leaf-r03b | Eth1/5 | network | DAC | 25G | 3 | black | N-0087 | 10;20 | in rack
PDU-R03-A | outlet 8 | ci-0306 | PSU1 | power | C13-C14 |  | 1.5 | red | P-0077 |  | in rack
PDU-R03-B | outlet 8 | ci-0306 | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0078 |  | in rack
ci-0306 | NIC1 port1 | leaf-r03a | Eth1/6 | network | DAC | 25G | 3 | black | N-0088 | 10;20 | in rack
ci-0306 | NIC1 port2 | leaf-r03b | Eth1/6 | network | DAC | 25G | 3 | black | N-0089 | 10;20 | in rack
PDU-R03-A | outlet 9 | ci-0307 | PSU1 | power | C13-C14 |  | 1.5 | red | P-0079 |  | in rack
PDU-R03-B | outlet 9 | ci-0307 | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0080 |  | in rack
ci-0307 | NIC1 port1 | leaf-r03a | Eth1/7 | network | DAC | 25G | 3 | black | N-0090 | 10;20 | in rack
ci-0307 | NIC1 port2 | leaf-r03b | Eth1/7 | network | DAC | 25G | 3 | black | N-0091 | 10;20 | in rack
PDU-R03-A | outlet 10 | ci-0308 | PSU1 | power | C13-C14 |  | 1.5 | red | P-0081 |  | in rack
PDU-R03-B | outlet 10 | ci-0308 | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0082 |  | in rack
ci-0308 | NIC1 port1 | leaf-r03a | Eth1/8 | network | DAC | 25G | 3 | black |  | 10 | in rack
PDU-R04-A | outlet 1 | leaf-r04a | PSU1 | power | C13-C14 |  | 1.5 | red | P-0083 |  | in rack
PDU-R04-B | outlet 1 | leaf-r04a | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0084 |  | in rack
PDU-R04-A | outlet 2 | leaf-r04b | PSU1 | power | C13-C14 |  | 1.5 | red | P-0085 |  | in rack
PDU-R04-B | outlet 2 | leaf-r04b | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0086 |  | in rack
leaf-r04a | Eth1/49 | pp-r04 | port 1 | network | OM4 | 100G | 1 | aqua | N-0092 | 10;20;30;40 | in rack
pp-r04 | port 1 | pp-r11 | port 7 | network | OM4 MPO | 100G | 9.3 | aqua | N-0093 | 10;20;30;40 | overhead tray T1
pp-r11 | port 7 | spine-01 | Eth1/7 | network | OM4 | 100G | 1 | aqua | N-0094 | 10;20;30;40 | in rack
leaf-r04a | Eth1/50 | pp-r04 | port 2 | network | OM4 | 100G | 1 | aqua | N-0095 | 10;20;30;40 | in rack
pp-r04 | port 2 | pp-r12 | port 7 | network | OM4 MPO | 100G | 9.3 | aqua | N-0096 | 10;20;30;40 | overhead tray T1
pp-r12 | port 7 | spine-02 | Eth1/7 | network | OM4 | 100G | 1 | aqua | N-0097 | 10;20;30;40 | in rack
leaf-r04b | Eth1/49 | pp-r04 | port 3 | network | OM4 | 100G | 1 | aqua | N-0098 | 10;20;30;40 | in rack
pp-r04 | port 3 | pp-r11 | port 8 | network | OM4 MPO | 100G | 9.3 | aqua | N-0099 | 10;20;30;40 | overhead tray T1
pp-r11 | port 8 | spine-01 | Eth1/8 | network | OM4 | 100G | 1 | aqua | N-0100 | 10;20;30;40 | in rack
leaf-r04b | Eth1/50 | pp-r04 | port 4 | network | OM4 | 100G | 1 | aqua | N-0101 | 10;20;30;40 | in rack
pp-r04 | port 4 | pp-r12 | port 8 | network | OM4 MPO | 100G | 9.3 | aqua | N-0102 | 10;20;30;40 | overhead tray T1
pp-r12 | port 8 | spine-02 | Eth1/8 | network | OM4 | 100G | 1 | aqua | N-0103 | 10;20;30;40 | in rack
PDU-R04-A | outlet 3 | gpu-0401 | PSU1 | power | C13-C14 |  | 1.5 | red | P-0087 |  | in rack
PDU-R04-A | outlet 4 | gpu-0401 | PSU2 | power | C13-C14 |  | 1.5 | red | P-0088 |  | in rack
PDU-R04-A | outlet 5 | gpu-0401 | PSU3 | power | C13-C14 |  | 1.5 | red | P-0089 |  | in rack
PDU-R04-B | outlet 3 | gpu-0401 | PSU4 | power | C13-C14 |  | 1.5 | blue | P-0090 |  | in rack
PDU-R04-B | outlet 4 | gpu-0401 | PSU5 | power | C13-C14 |  | 1.5 | blue | P-0091 |  | in rack
PDU-R04-B | outlet 5 | gpu-0401 | PSU6 | power | C13-C14 |  | 1.5 | blue | P-0092 |  | in rack
gpu-0401 | eth0 | leaf-r04a | Eth1/1 | network | DAC | 100G | 3 | black | N-0104 | 30 | in rack
gpu-0401 | eth1 | leaf-r04b | Eth1/1 | network | DAC | 100G | 3 | black | N-0105 | 30 | in rack
PDU-R04-A | outlet 6 | gpu-0402 | PSU1 | power | C13-C14 |  | 1.5 | red | P-0093 |  | in rack
PDU-R04-A | outlet 7 | gpu-0402 | PSU2 | power | C13-C14 |  | 1.5 | red | P-0094 |  | in rack
PDU-R04-A | outlet 8 | gpu-0402 | PSU3 | power | C13-C14 |  | 1.5 | red | P-0095 |  | in rack
PDU-R04-B | outlet 6 | gpu-0402 | PSU4 | power | C13-C14 |  | 1.5 | blue | P-0096 |  | in rack
PDU-R04-B | outlet 7 | gpu-0402 | PSU5 | power | C13-C14 |  | 1.5 | blue | P-0097 |  | in rack
PDU-R04-B | outlet 8 | gpu-0402 | PSU6 | power | C13-C14 |  | 1.5 | blue | P-0098 |  | in rack
gpu-0402 | eth0 | leaf-r04a | Eth1/2 | network | DAC | 100G | 3 | black | N-0106 | 30 | in rack
gpu-0402 | eth1 | leaf-r04b | Eth1/2 | network | DAC | 100G | 3 | black | N-0107 | 30 | in rack
PDU-R05-A | outlet 1 | leaf-r05a | PSU1 | power | C13-C14 |  | 1.5 | red | P-0099 |  | in rack
PDU-R05-B | outlet 1 | leaf-r05a | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0100 |  | in rack
PDU-R05-A | outlet 2 | leaf-r05b | PSU1 | power | C13-C14 |  | 1.5 | red | P-0101 |  | in rack
PDU-R05-B | outlet 2 | leaf-r05b | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0102 |  | in rack
leaf-r05a | Eth1/49 | pp-r05 | port 1 | network | OM4 | 100G | 1 | aqua | N-0108 | 10;20;30;40 | in rack
pp-r05 | port 1 | pp-r11 | port 9 | network | OM4 MPO | 100G | 9.9 | aqua | N-0109 | 10;20;30;40 | overhead tray T1
pp-r11 | port 9 | spine-01 | Eth1/9 | network | OM4 | 100G | 1 | aqua | N-0110 | 10;20;30;40 | in rack
leaf-r05a | Eth1/53 | leaf-r05b | Eth1/53 | network | DAC | 100G | 1 | black | N-0111 | 10;30 | in rack
PDU-R05-A | outlet 3 | gpu-0501 | PSU1 | power | C13-C14 |  | 1.5 | red | P-0103 |  | in rack
PDU-R05-A | outlet 4 | gpu-0501 | PSU2 | power | C13-C14 |  | 1.5 | red | P-0104 |  | in rack
PDU-R05-A | outlet 5 | gpu-0501 | PSU3 | power | C13-C14 |  | 1.5 | red | P-0105 |  | in rack
PDU-R05-B | outlet 3 | gpu-0501 | PSU4 | power | C13-C14 |  | 1.5 | blue | P-0106 |  | in rack
PDU-R05-B | outlet 4 | gpu-0501 | PSU5 | power | C13-C14 |  | 1.5 | blue | P-0107 |  | in rack
PDU-R05-B | outlet 5 | gpu-0501 | PSU6 | power | C13-C14 |  | 1.5 | blue | P-0108 |  | in rack
gpu-0501 | eth0 | leaf-r05a | Eth1/1 | network | DAC | 100G | 3 | black | N-0112 | 30 | in rack
gpu-0501 | eth1 | leaf-r05b | Eth1/1 | network | DAC | 100G | 3 | black | N-0113 | 30 | in rack
PDU-R05-A | outlet 6 | gpu-0502 | PSU1 | power | C13-C14 |  | 1.5 | red | P-0109 |  | in rack
PDU-R05-A | outlet 7 | gpu-0502 | PSU2 | power | C13-C14 |  | 1.5 | red | P-0110 |  | in rack
PDU-R05-A | outlet 8 | gpu-0502 | PSU3 | power | C13-C14 |  | 1.5 | red | P-0111 |  | in rack
PDU-R05-B | outlet 6 | gpu-0502 | PSU4 | power | C13-C14 |  | 1.5 | blue | P-0112 |  | in rack
PDU-R05-B | outlet 7 | gpu-0502 | PSU5 | power | C13-C14 |  | 1.5 | blue | P-0113 |  | in rack
PDU-R05-B | outlet 8 | gpu-0502 | PSU6 | power | C13-C14 |  | 1.5 | blue | P-0114 |  | in rack
gpu-0502 | eth0 | leaf-r05a | Eth1/2 | network | DAC | 100G | 3 | black | N-0114 | 30 | in rack
gpu-0502 | eth1 | leaf-r05b | Eth1/2 | network | DAC | 100G | 3 | black | N-0115 | 30 | in rack
PDU-R06-A | outlet 1 | leaf-r06a | PSU1 | power | C13-C14 |  | 1.5 | red | P-0115 |  | in rack
PDU-R06-B | outlet 1 | leaf-r06a | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0116 |  | in rack
PDU-R06-A | outlet 2 | leaf-r06b | PSU1 | power | C13-C14 |  | 1.5 | red | P-0117 |  | in rack
PDU-R06-B | outlet 2 | leaf-r06b | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0118 |  | in rack
leaf-r06a | Eth1/49 | pp-r06 | port 1 | network | OM4 | 100G | 1 | aqua | N-0116 | 10;20;30;40 | in rack
pp-r06 | port 1 | pp-r11 | port 10 | network | OM4 MPO | 100G | 10.5 | aqua | N-0117 | 10;20;30;40 | overhead tray T1
pp-r11 | port 10 | spine-01 | Eth1/10 | network | OM4 | 100G | 1 | aqua | N-0118 | 10;20;30;40 | in rack
leaf-r06a | Eth1/50 | pp-r06 | port 2 | network | OM4 | 100G | 1 | aqua | N-0119 | 10;20;30;40 | in rack
pp-r06 | port 2 | pp-r12 | port 9 | network | OM4 MPO | 100G | 10.5 | aqua | N-0120 | 10;20;30;40 | overhead tray T1
pp-r12 | port 9 | spine-02 | Eth1/9 | network | OM4 | 100G | 1 | aqua | N-0121 | 10;20;30;40 | in rack
leaf-r06b | Eth1/49 | pp-r06 | port 3 | network | OM4 | 100G | 1 | aqua | N-0122 | 10;20;30;40 | in rack
pp-r06 | port 3 | pp-r11 | port 11 | network | OM4 MPO | 100G | 10.5 | aqua | N-0123 | 10;20;30;40 | overhead tray T1
pp-r11 | port 11 | spine-01 | Eth1/11 | network | OM4 | 100G | 1 | aqua | N-0124 | 10;20;30;40 | in rack
leaf-r06b | Eth1/50 | pp-r06 | port 4 | network | OM4 | 100G | 1 | aqua | N-0125 | 10;20;30;40 | in rack
pp-r06 | port 4 | pp-r12 | port 10 | network | OM4 MPO | 100G | 10.5 | aqua | N-0126 | 10;20;30;40 | overhead tray T1
pp-r12 | port 10 | spine-02 | Eth1/10 | network | OM4 | 100G | 1 | aqua | N-0127 | 10;20;30;40 | in rack
PDU-R06-A | outlet 3 | esx-0601 | PSU1 | power | C13-C14 |  | 1.5 | red | P-0119 |  | in rack
PDU-R06-B | outlet 3 | esx-0601 | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0120 |  | in rack
esx-0601 | NIC1 port1 | leaf-r06a | Eth1/1 | network | DAC | 25G | 3 | black | N-0128 | 10;20 | in rack
esx-0601 | NIC1 port2 | leaf-r06b | Eth1/1 | network | DAC | 25G | 3 | black | N-0129 | 10;20 | in rack
PDU-R06-A | outlet 4 | esx-0602 | PSU1 | power | C13-C14 |  | 1.5 | red | P-0121 |  | in rack
PDU-R06-B | outlet 4 | esx-0602 | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0122 |  | in rack
esx-0602 | NIC1 port1 | leaf-r06a | Eth1/2 | network | DAC | 25G | 3 | black | N-0130 | 10;20 | in rack
esx-0602 | NIC1 port2 | leaf-r06b | Eth1/2 | network | DAC | 25G | 3 | black | N-0131 | 10;20 | in rack
PDU-R06-A | outlet 5 | esx-0603 | PSU1 | power | C13-C14 |  | 1.5 | red | P-0123 |  | in rack
PDU-R06-B | outlet 5 | esx-0603 | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0124 |  | in rack
esx-0603 | NIC1 port1 | leaf-r06a | Eth1/3 | network | DAC | 25G | 3 | black | N-0132 | 10;20 | in rack
esx-0603 | NIC1 port2 | leaf-r06b | Eth1/3 | network | DAC | 25G | 3 | black | N-0133 | 10;20 | in rack
PDU-R06-A | outlet 6 | esx-0604 | PSU1 | power | C13-C14 |  | 1.5 | red | P-0125 |  | in rack
PDU-R06-B | outlet 6 | esx-0604 | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0126 |  | in rack
esx-0604 | NIC1 port1 | leaf-r06a | Eth1/4 | network | DAC | 25G | 3 | black | N-0134 | 10;20 | in rack
esx-0604 | NIC1 port2 | leaf-r06b | Eth1/4 | network | DAC | 25G | 3 | black | N-0135 | 10;20 | in rack
PDU-R06-A | outlet 7 | esx-0605 | PSU1 | power | C13-C14 |  | 1.5 | red | P-0127 |  | in rack
PDU-R06-B | outlet 7 | esx-0605 | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0128 |  | in rack
esx-0605 | NIC1 port1 | leaf-r06a | Eth1/5 | network | DAC | 25G | 3 | black | N-0136 | 10;20 | in rack
esx-0605 | NIC1 port2 | leaf-r06b | Eth1/5 | network | DAC | 25G | 3 | black | N-0137 | 10;20 | in rack
PDU-R06-A | outlet 8 | esx-0606 | PSU1 | power | C13-C14 |  | 1.5 | red | P-0129 |  | in rack
PDU-R06-B | outlet 8 | esx-0606 | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0130 |  | in rack
esx-0606 | NIC1 port1 | leaf-r06a | Eth1/6 | network | DAC | 25G | 3 | black | N-0138 | 10;20 | in rack
esx-0606 | NIC1 port2 | leaf-r06b | Eth1/6 | network | DAC | 25G | 3 | black | N-0139 | 10;20 | in rack
PDU-R06-A | outlet 9 | esx-0607 | PSU1 | power | C13-C14 |  | 1.5 | red | P-0131 |  | in rack
PDU-R06-B | outlet 9 | esx-0607 | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0132 |  | in rack
esx-0607 | NIC1 port1 | leaf-r06a | Eth1/7 | network | DAC | 25G | 3 | black | N-0140 | 10;20 | in rack
esx-0607 | NIC1 port2 | leaf-r06b | Eth1/7 | network | DAC | 25G | 3 | black | N-0141 | 10;20 | in rack
PDU-R06-A | outlet 10 | esx-0608 | PSU1 | power | C13-C14 |  | 1.5 | red | P-0133 |  | in rack
PDU-R06-B | outlet 10 | esx-0608 | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0134 |  | in rack
esx-0608 | NIC1 port1 | leaf-r06a | Eth1/8 | network | DAC | 25G | 3 | black | N-0142 | 10;20 | in rack
esx-0608 | NIC1 port2 | leaf-r06b | Eth1/8 | network | DAC | 25G | 3 | black | N-0143 | 10;20 | in rack
esx-0601 | HBA1 port1 | fc-01 | port 1 | storage | OM4 | 32G FC | 9 | aqua | S-0001 |  | overhead tray T3
esx-0601 | HBA1 port2 | fc-02 | port 1 | storage | OM4 | 32G FC | 9 | aqua | S-0002 |  | overhead tray T3
esx-0602 | HBA1 port1 | fc-01 | port 2 | storage | OM4 | 32G FC | 9 | aqua | S-0003 |  | overhead tray T3
esx-0602 | HBA1 port2 | fc-02 | port 2 | storage | OM4 | 32G FC | 9 | aqua | S-0004 |  | overhead tray T3
esx-0603 | HBA1 port1 | fc-01 | port 3 | storage | OM4 | 32G FC | 9 | aqua | S-0005 |  | overhead tray T3
esx-0603 | HBA1 port2 | fc-02 | port 3 | storage | OM4 | 32G FC | 9 | aqua | S-0006 |  | overhead tray T3
esx-0604 | HBA1 port1 | fc-01 | port 4 | storage | OM4 | 32G FC | 9 | aqua | S-0007 |  | overhead tray T3
esx-0604 | HBA1 port2 | fc-02 | port 4 | storage | OM4 | 32G FC | 9 | aqua | S-0008 |  | overhead tray T3
esx-0605 | HBA1 port1 | fc-01 | port 5 | storage | OM4 | 32G FC | 9 | aqua | S-0009 |  | overhead tray T3
esx-0605 | HBA1 port2 | fc-02 | port 5 | storage | OM4 | 32G FC | 9 | aqua | S-0010 |  | overhead tray T3
esx-0606 | HBA1 port1 | fc-01 | port 6 | storage | OM4 | 32G FC | 9 | aqua | S-0011 |  | overhead tray T3
esx-0606 | HBA1 port2 | fc-02 | port 6 | storage | OM4 | 32G FC | 9 | aqua | S-0012 |  | overhead tray T3
esx-0607 | HBA1 port1 | fc-01 | port 7 | storage | OM4 | 32G FC | 9 | aqua | S-0013 |  | overhead tray T3
esx-0607 | HBA1 port2 | fc-02 | port 7 | storage | OM4 | 32G FC | 9 | aqua | S-0014 |  | overhead tray T3
esx-0608 | HBA1 port1 | fc-01 | port 8 | storage | OM4 | 32G FC | 9 | aqua | S-0015 |  | overhead tray T3
esx-0608 | HBA1 port2 | fc-02 | port 8 | storage | OM4 | 32G FC | 9 | aqua | S-0016 |  | overhead tray T3
PDU-R07-A | outlet 1 | leaf-r07a | PSU1 | power | C13-C14 |  | 1.5 | red | P-0135 |  | in rack
PDU-R07-B | outlet 1 | leaf-r07a | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0136 |  | in rack
PDU-R07-A | outlet 2 | leaf-r07b | PSU1 | power | C13-C14 |  | 1.5 | red | P-0137 |  | in rack
PDU-R07-B | outlet 2 | leaf-r07b | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0138 |  | in rack
leaf-r07a | Eth1/49 | pp-r07 | port 1 | network | OM4 | 100G | 1 | aqua | N-0144 | 10;20;30;40 | in rack
pp-r07 | port 1 | pp-r11 | port 12 | network | OM4 MPO | 100G | 11.1 | aqua | N-0145 | 10;20;30;40 | overhead tray T1
pp-r11 | port 12 | spine-01 | Eth1/12 | network | OM4 | 100G | 1 | aqua | N-0146 | 10;20;30;40 | in rack
leaf-r07a | Eth1/50 | pp-r07 | port 2 | network | OM4 | 100G | 1 | aqua | N-0147 | 10;20;30;40 | in rack
pp-r07 | port 2 | pp-r12 | port 11 | network | OM4 MPO | 100G | 11.1 | aqua | N-0148 | 10;20;30;40 | overhead tray T1
pp-r12 | port 11 | spine-02 | Eth1/11 | network | OM4 | 100G | 1 | aqua | N-0149 | 10;20;30;40 | in rack
leaf-r07b | Eth1/49 | pp-r07 | port 3 | network | OM4 | 100G | 1 | aqua | N-0150 | 10;20;30;40 | in rack
pp-r07 | port 3 | pp-r11 | port 13 | network | OM4 MPO | 100G | 11.1 | aqua | N-0151 | 10;20;30;40 | overhead tray T1
pp-r11 | port 13 | spine-01 | Eth1/13 | network | OM4 | 100G | 1 | aqua | N-0152 | 10;20;30;40 | in rack
leaf-r07b | Eth1/50 | pp-r07 | port 4 | network | OM4 | 100G | 1 | aqua | N-0153 | 10;20;30;40 | in rack
pp-r07 | port 4 | pp-r12 | port 12 | network | OM4 MPO | 100G | 11.1 | aqua | N-0154 | 10;20;30;40 | overhead tray T1
pp-r12 | port 12 | spine-02 | Eth1/12 | network | OM4 | 100G | 1 | aqua | N-0155 | 10;20;30;40 | in rack
PDU-R07-A | outlet 3 | esx-0701 | PSU1 | power | C13-C14 |  | 1.5 | red | P-0139 |  | in rack
PDU-R07-B | outlet 3 | esx-0701 | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0140 |  | in rack
esx-0701 | NIC1 port1 | leaf-r07a | Eth1/1 | network | DAC | 25G | 3 | black | N-0156 | 10;20 | in rack
esx-0701 | NIC1 port2 | leaf-r07b | Eth1/1 | network | DAC | 25G | 3 | black | N-0157 | 10;20 | in rack
PDU-R07-A | outlet 4 | esx-0702 | PSU1 | power | C13-C14 |  | 1.5 | red | P-0141 |  | in rack
PDU-R07-B | outlet 4 | esx-0702 | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0142 |  | in rack
esx-0702 | NIC1 port1 | leaf-r07a | Eth1/2 | network | DAC | 25G | 3 | black | N-0158 | 10;20 | in rack
esx-0702 | NIC1 port2 | leaf-r07b | Eth1/2 | network | DAC | 25G | 3 | black | N-0159 | 10;20 | in rack
PDU-R07-A | outlet 5 | esx-0703 | PSU1 | power | C13-C14 |  | 1.5 | red | P-0143 |  | in rack
PDU-R07-B | outlet 5 | esx-0703 | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0144 |  | in rack
esx-0703 | NIC1 port1 | leaf-r07a | Eth1/3 | network | DAC | 25G | 3 | black | N-0160 | 10;20 | in rack
esx-0703 | NIC1 port2 | leaf-r07b | Eth1/3 | network | DAC | 25G | 3 | black | N-0161 | 10;20 | in rack
PDU-R07-A | outlet 6 | esx-0704 | PSU1 | power | C13-C14 |  | 1.5 | red | P-0145 |  | in rack
PDU-R07-B | outlet 6 | esx-0704 | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0146 |  | in rack
esx-0704 | NIC1 port1 | leaf-r07a | Eth1/4 | network | DAC | 25G | 3 | black | N-0162 | 10;20 | in rack
esx-0704 | NIC1 port2 | leaf-r07b | Eth1/4 | network | DAC | 25G | 3 | black | N-0163 | 10;20 | in rack
PDU-R07-A | outlet 7 | esx-0705 | PSU1 | power | C13-C14 |  | 1.5 | red | P-0147 |  | in rack
PDU-R07-B | outlet 7 | esx-0705 | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0148 |  | in rack
esx-0705 | NIC1 port1 | leaf-r07a | Eth1/5 | network | DAC | 25G | 3 | black | N-0164 | 10;20 | in rack
esx-0705 | NIC1 port2 | leaf-r07b | Eth1/5 | network | DAC | 25G | 3 | black | N-0165 | 10;20 | in rack
PDU-R07-A | outlet 8 | esx-0706 | PSU1 | power | C13-C14 |  | 1.5 | red | P-0149 |  | in rack
PDU-R07-B | outlet 8 | esx-0706 | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0150 |  | in rack
esx-0706 | NIC1 port1 | leaf-r07a | Eth1/6 | network | DAC | 25G | 3 | black | N-0166 | 10;20 | in rack
esx-0706 | NIC1 port2 | leaf-r07b | Eth1/6 | network | DAC | 25G | 3 | black | N-0167 | 10;20 | in rack
PDU-R07-A | outlet 9 | esx-0707 | PSU1 | power | C13-C14 |  | 1.5 | red | P-0151 |  | in rack
PDU-R07-B | outlet 9 | esx-0707 | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0152 |  | in rack
esx-0707 | NIC1 port1 | leaf-r07a | Eth1/7 | network | DAC | 25G | 3 | black | N-0168 | 10;20 | in rack
esx-0707 | NIC1 port2 | leaf-r07b | Eth1/7 | network | DAC | 25G | 3 | black | N-0169 | 10;20 | in rack
PDU-R07-A | outlet 10 | esx-0708 | PSU1 | power | C13-C14 |  | 1.5 | red | P-0153 |  | in rack
PDU-R07-B | outlet 10 | esx-0708 | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0154 |  | in rack
esx-0708 | NIC1 port1 | leaf-r07a | Eth1/8 | network | DAC | 25G | 3 | black | N-0170 | 10;20 | in rack
esx-0708 | NIC1 port2 | leaf-r07b | Eth1/8 | network | DAC | 25G | 3 | black | N-0171 | 10;20 | in rack
PDU-R08-A | outlet 1 | leaf-r08a | PSU1 | power | C13-C14 |  | 1.5 | red | P-0155 |  | in rack
PDU-R08-B | outlet 1 | leaf-r08a | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0156 |  | in rack
PDU-R08-A | outlet 2 | leaf-r08b | PSU1 | power | C13-C14 |  | 1.5 | red | P-0157 |  | in rack
PDU-R08-B | outlet 2 | leaf-r08b | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0158 |  | in rack
leaf-r08a | Eth1/49 | pp-r08 | port 1 | network | OM4 | 100G | 1 | aqua | N-0172 | 10;20;30;40 | in rack
pp-r08 | port 1 | pp-r11 | port 14 | network | OM4 MPO | 100G | 11.7 | aqua | N-0173 | 10;20;30;40 | overhead tray T1
pp-r11 | port 14 | spine-01 | Eth1/14 | network | OM4 | 100G | 1 | aqua | N-0174 | 10;20;30;40 | in rack
leaf-r08a | Eth1/50 | pp-r08 | port 2 | network | OM4 | 100G | 1 | aqua | N-0175 | 10;20;30;40 | in rack
pp-r08 | port 2 | pp-r12 | port 13 | network | OM4 MPO | 100G | 11.7 | aqua | N-0176 | 10;20;30;40 | overhead tray T1
pp-r12 | port 13 | spine-02 | Eth1/13 | network | OM4 | 100G | 1 | aqua | N-0177 | 10;20;30;40 | in rack
leaf-r08b | Eth1/49 | pp-r08 | port 3 | network | OM4 | 100G | 1 | aqua | N-0178 | 10;20;30;40 | in rack
pp-r08 | port 3 | pp-r11 | port 15 | network | OM4 MPO | 100G | 11.7 | aqua | N-0179 | 10;20;30;40 | overhead tray T1
pp-r11 | port 15 | spine-01 | Eth1/15 | network | OM4 | 100G | 1 | aqua | N-0180 | 10;20;30;40 | in rack
leaf-r08b | Eth1/50 | pp-r08 | port 4 | network | OM4 | 100G | 1 | aqua | N-0181 | 10;20;30;40 | in rack
pp-r08 | port 4 | pp-r12 | port 14 | network | OM4 MPO | 100G | 11.7 | aqua | N-0182 | 10;20;30;40 | overhead tray T1
pp-r12 | port 14 | spine-02 | Eth1/14 | network | OM4 | 100G | 1 | aqua | N-0183 | 10;20;30;40 | in rack
PDU-R08-A | outlet 3 | esx-0801 | PSU1 | power | C13-C14 |  | 1.5 | red | P-0159 |  | in rack
PDU-R08-B | outlet 3 | esx-0801 | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0160 |  | in rack
esx-0801 | NIC1 port1 | leaf-r08a | Eth1/1 | network | DAC | 25G | 3 | black | N-0184 | 10;20 | in rack
esx-0801 | NIC1 port2 | leaf-r08b | Eth1/1 | network | DAC | 25G | 3 | black | N-0185 | 10;20 | in rack
PDU-R08-A | outlet 4 | esx-0802 | PSU1 | power | C13-C14 |  | 1.5 | red | P-0161 |  | in rack
PDU-R08-B | outlet 4 | esx-0802 | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0162 |  | in rack
esx-0802 | NIC1 port1 | leaf-r08a | Eth1/2 | network | DAC | 25G | 3 | black | N-0186 | 10;20 | in rack
esx-0802 | NIC1 port2 | leaf-r08b | Eth1/2 | network | DAC | 25G | 3 | black | N-0187 | 10;20 | in rack
PDU-R08-A | outlet 5 | esx-0803 | PSU1 | power | C13-C14 |  | 1.5 | red | P-0163 |  | in rack
PDU-R08-B | outlet 5 | esx-0803 | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0164 |  | in rack
esx-0803 | NIC1 port1 | leaf-r08a | Eth1/3 | network | DAC | 25G | 3 | black | N-0188 | 10;20 | in rack
esx-0803 | NIC1 port2 | leaf-r08b | Eth1/3 | network | DAC | 25G | 3 | black | N-0189 | 10;20 | in rack
PDU-R08-A | outlet 6 | esx-0804 | PSU1 | power | C13-C14 |  | 1.5 | red | P-0165 |  | in rack
PDU-R08-B | outlet 6 | esx-0804 | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0166 |  | in rack
esx-0804 | NIC1 port1 | leaf-r08a | Eth1/4 | network | DAC | 25G | 3 | black | N-0190 | 10;20 | in rack
esx-0804 | NIC1 port2 | leaf-r08b | Eth1/4 | network | DAC | 25G | 3 | black | N-0191 | 10;20 | in rack
PDU-R08-A | outlet 7 | esx-0805 | PSU1 | power | C13-C14 |  | 1.5 | red | P-0167 |  | in rack
PDU-R08-B | outlet 7 | esx-0805 | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0168 |  | in rack
esx-0805 | NIC1 port1 | leaf-r08a | Eth1/5 | network | DAC | 25G | 3 | black | N-0192 | 10;20 | in rack
esx-0805 | NIC1 port2 | leaf-r08b | Eth1/5 | network | DAC | 25G | 3 | black | N-0193 | 10;20 | in rack
PDU-R08-A | outlet 8 | esx-0806 | PSU1 | power | C13-C14 |  | 1.5 | red | P-0169 |  | in rack
PDU-R08-B | outlet 8 | esx-0806 | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0170 |  | in rack
esx-0806 | NIC1 port1 | leaf-r08a | Eth1/6 | network | DAC | 25G | 3 | black | N-0194 | 10;20 | in rack
esx-0806 | NIC1 port2 | leaf-r08b | Eth1/6 | network | DAC | 25G | 3 | black | N-0195 | 10;20 | in rack
PDU-R09-A | outlet 1 | leaf-r09a | PSU1 | power | C13-C14 |  | 1.5 | red | P-0171 |  | in rack
PDU-R09-B | outlet 1 | leaf-r09a | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0172 |  | in rack
PDU-R09-A | outlet 2 | leaf-r09b | PSU1 | power | C13-C14 |  | 1.5 | red | P-0173 |  | in rack
PDU-R09-B | outlet 2 | leaf-r09b | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0174 |  | in rack
leaf-r09a | Eth1/49 | pp-r09 | port 1 | network | OM4 | 100G | 1 | aqua | N-0196 | 10;20;30;40 | in rack
pp-r09 | port 1 | pp-r11 | port 16 | network | OM4 MPO | 100G | 12.3 | aqua | N-0197 | 10;20;30;40 | overhead tray T1
pp-r11 | port 16 | spine-01 | Eth1/16 | network | OM4 | 100G | 1 | aqua | N-0198 | 10;20;30;40 | in rack
leaf-r09a | Eth1/50 | pp-r09 | port 2 | network | OM4 | 100G | 1 | aqua | N-0199 | 10;20;30;40 | in rack
pp-r09 | port 2 | pp-r12 | port 15 | network | OM4 MPO | 100G | 12.3 | aqua | N-0200 | 10;20;30;40 | overhead tray T1
pp-r12 | port 15 | spine-02 | Eth1/15 | network | OM4 | 100G | 1 | aqua | N-0201 | 10;20;30;40 | in rack
leaf-r09b | Eth1/49 | pp-r09 | port 3 | network | OM4 | 100G | 1 | aqua | N-0202 | 10;20;30;40 | in rack
pp-r09 | port 3 | pp-r11 | port 17 | network | OM4 MPO | 100G | 12.3 | aqua | N-0203 | 10;20;30;40 | overhead tray T1
pp-r11 | port 17 | spine-01 | Eth1/17 | network | OM4 | 100G | 1 | aqua | N-0204 | 10;20;30;40 | in rack
leaf-r09b | Eth1/50 | pp-r09 | port 4 | network | OM4 | 100G | 1 | aqua | N-0205 | 10;20;30;40 | in rack
pp-r09 | port 4 | pp-r12 | port 16 | network | OM4 MPO | 100G | 12.3 | aqua | N-0206 | 10;20;30;40 | overhead tray T1
pp-r12 | port 16 | spine-02 | Eth1/16 | network | OM4 | 100G | 1 | aqua | N-0207 | 10;20;30;40 | in rack
PDU-R09-A | outlet 3 | ceph-0901 | PSU1 | power | C13-C14 |  | 1.5 | red | P-0175 |  | in rack
PDU-R09-B | outlet 3 | ceph-0901 | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0176 |  | in rack
ceph-0901 | NIC1 port1 | leaf-r09a | Eth1/1 | network | DAC | 25G | 3 | black | N-0208 | 10;20 | in rack
ceph-0901 | NIC1 port2 | leaf-r09b | Eth1/1 | network | DAC | 25G | 3 | black | N-0209 | 10;20 | in rack
PDU-R09-A | outlet 4 | ceph-0902 | PSU1 | power | C13-C14 |  | 1.5 | red | P-0177 |  | in rack
PDU-R09-B | outlet 4 | ceph-0902 | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0178 |  | in rack
ceph-0902 | NIC1 port1 | leaf-r09a | Eth1/2 | network | DAC | 25G | 3 | black | N-0210 | 10;20 | in rack
ceph-0902 | NIC1 port2 | leaf-r09b | Eth1/2 | network | DAC | 25G | 3 | black | N-0211 | 10;20 | in rack
PDU-R09-A | outlet 5 | ceph-0903 | PSU1 | power | C13-C14 |  | 1.5 | red | P-0179 |  | in rack
PDU-R09-B | outlet 5 | ceph-0903 | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0180 |  | in rack
ceph-0903 | NIC1 port1 | leaf-r09a | Eth1/3 | network | DAC | 25G | 3 | black | N-0212 | 10;20 | in rack
ceph-0903 | NIC1 port2 | leaf-r09b | Eth1/3 | network | DAC | 25G | 3 | black | N-0213 | 10;20 | in rack
PDU-R09-A | outlet 6 | ceph-0904 | PSU1 | power | C13-C14 |  | 1.5 | red | P-0181 |  | in rack
PDU-R09-B | outlet 6 | ceph-0904 | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0182 |  | in rack
ceph-0904 | NIC1 port1 | leaf-r09a | Eth1/4 | network | DAC | 25G | 3 | black | N-0214 | 10;20 | in rack
ceph-0904 | NIC1 port2 | leaf-r09b | Eth1/4 | network | DAC | 25G | 3 | black | N-0215 | 10;20 | in rack
PDU-R10-A | outlet 1 | leaf-r10a | PSU1 | power | C13-C14 |  | 1.5 | red | P-0183 |  | in rack
PDU-R10-B | outlet 1 | leaf-r10a | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0184 |  | in rack
PDU-R10-A | outlet 2 | leaf-r10b | PSU1 | power | C13-C14 |  | 1.5 | red | P-0185 |  | in rack
PDU-R10-B | outlet 2 | leaf-r10b | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0186 |  | in rack
leaf-r10a | Eth1/49 | pp-r10 | port 1 | network | OM4 | 100G | 1 | aqua | N-0216 | 10;20;30;40 | in rack
pp-r10 | port 1 | pp-r11 | port 18 | network | OM4 MPO | 100G | 12.9 | aqua | N-0217 | 10;20;30;40 | overhead tray T1
pp-r11 | port 18 | spine-01 | Eth1/18 | network | OM4 | 100G | 1 | aqua | N-0218 | 10;20;30;40 | in rack
leaf-r10a | Eth1/50 | pp-r10 | port 2 | network | OM4 | 100G | 1 | aqua | N-0219 | 10;20;30;40 | in rack
pp-r10 | port 2 | pp-r12 | port 17 | network | OM4 MPO | 100G | 12.9 | aqua | N-0220 | 10;20;30;40 | overhead tray T1
pp-r12 | port 17 | spine-02 | Eth1/17 | network | OM4 | 100G | 1 | aqua | N-0221 | 10;20;30;40 | in rack
leaf-r10b | Eth1/49 | pp-r10 | port 3 | network | OM4 | 100G | 1 | aqua | N-0222 | 10;20;30;40 | in rack
pp-r10 | port 3 | pp-r11 | port 19 | network | OM4 MPO | 100G | 12.9 | aqua | N-0223 | 10;20;30;40 | overhead tray T1
pp-r11 | port 19 | spine-01 | Eth1/19 | network | OM4 | 100G | 1 | aqua | N-0224 | 10;20;30;40 | in rack
leaf-r10b | Eth1/50 | pp-r10 | port 4 | network | OM4 | 100G | 1 | aqua | N-0225 | 10;20;30;40 | in rack
pp-r10 | port 4 | pp-r12 | port 18 | network | OM4 MPO | 100G | 12.9 | aqua | N-0226 | 10;20;30;40 | overhead tray T1
pp-r12 | port 18 | spine-02 | Eth1/18 | network | OM4 | 100G | 1 | aqua | N-0227 | 10;20;30;40 | in rack
PDU-R10-A | outlet 3 | emb-1001 | PSU1 | power | C13-C14 |  | 1.5 | red | P-0187 |  | in rack
PDU-R10-B | outlet 3 | emb-1001 | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0188 |  | in rack
emb-1001 | NIC1 port1 | leaf-r10a | Eth1/1 | network | DAC | 25G | 3 | black | N-0228 | 10;20 | in rack
emb-1001 | NIC1 port2 | leaf-r10b | Eth1/1 | network | DAC | 25G | 3 | black | N-0229 | 10;20 | in rack
PDU-R10-A | outlet 4 | emb-1002 | PSU1 | power | C13-C14 |  | 1.5 | red | P-0189 |  | in rack
PDU-R10-B | outlet 4 | emb-1002 | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0190 |  | in rack
emb-1002 | NIC1 port1 | leaf-r10a | Eth1/2 | network | DAC | 25G | 3 | black | N-0230 | 10;20 | in rack
emb-1002 | NIC1 port2 | leaf-r10b | Eth1/2 | network | DAC | 25G | 3 | black | N-0231 | 10;20 | in rack
PDU-R10-A | outlet 5 | emb-1003 | PSU1 | power | C13-C14 |  | 1.5 | red | P-0191 |  | in rack
PDU-R10-B | outlet 5 | emb-1003 | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0192 |  | in rack
emb-1003 | NIC1 port1 | leaf-r10a | Eth1/3 | network | DAC | 25G | 3 | black | N-0232 | 10;20 | in rack
emb-1003 | NIC1 port2 | leaf-r10b | Eth1/3 | network | DAC | 25G | 3 | black | N-0233 | 10;20 | in rack
PDU-R10-A | outlet 6 | emb-1004 | PSU1 | power | C13-C14 |  | 1.5 | red | P-0193 |  | in rack
PDU-R10-B | outlet 6 | emb-1004 | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0194 |  | in rack
emb-1004 | NIC1 port1 | leaf-r10a | Eth1/4 | network | DAC | 25G | 3 | black | N-0234 | 10;20 | in rack
emb-1004 | NIC1 port2 | leaf-r10b | Eth1/4 | network | DAC | 25G | 3 | black | N-0235 | 10;20 | in rack
PDU-R09-A | outlet 7 | jbod-0901 | PSU1 | power | C13-C14 |  | 1.5 | red | P-0195 |  | in rack
PDU-R09-B | outlet 7 | jbod-0901 | PSU2 | power | C13-C14 |  | 1.5 | blue | P-0196 |  | in rack
ceph-0901 | HBA1 port 1 | jbod-0901 | EMM A port 1 | storage | SAS | 12G SAS | 2 | grey | S-0017 |  | in rack
ceph-0902 | HBA1 port 1 | jbod-0901 | EMM B port 1 | storage | SAS | 12G SAS | 2 | grey | S-0018 |  | in rack
ceph-0903 | HBA1 port 1 | jbod-0901 | EMM A port 2 | storage | SAS | 12G SAS | 2 | grey | S-0019 |  | in rack
ceph-0904 | HBA1 port 1 | jbod-0901 | EMM B port 2 | storage | SAS | 12G SAS | 2 | grey | S-0020 |  | in rack
san-01 | FC port 1 | fc-01 | port 24 | storage | OM4 | 32G FC | 1.5 | aqua | S-0021 |  | in rack
san-01 | FC port 2 | fc-02 | port 24 | storage | OM4 | 32G FC | 1.5 | aqua | S-0022 |  | in rack
oob-01 | Gi1/0/5 | esx-0601 | iDRAC | network | Cat6A | 10G | 12 | yellow | N-0236 | 40 | under floor
old-nas-02 | eth0 | oob-02 | Gi1/0/9 | network | Cat6A | 1G | 10 | yellow | N-0237 | 40 | under floor
Note on A1: Device name (from Devices) or power item name (from Power)
Note on B1: Port, outlet or PSU, e.g. eno1, SFP+1, PSU1, outlet 3
Note on C1: Device or power item at the other end
Note on E1: power, network, storage or console
Note on F1: C13-C14, C19-C20, Cat6, Cat6A, DAC, AOC, OM4, OS2, SAS, FC …
Note on G1: Network/storage speed: 1G, 10G, 25G, 100G, 400G, 12G SAS, 32G FC
Note on H1: Cable length in metres
Note on J1: Label printed on the cable
Note on K1: VLAN id(s) on this link, separated by ;
Note on L1: How it runs: in rack, rear manager, overhead tray T1, under floor …

## Racks
rack | row | position | height_u | front_faces | max_kw
R01 | Row A | 1 | 42 | A | 10
R02 | Row A | 2 | 42 | A | 10
R03 | Row A | 3 | 42 | A | 10
R04 | Row A | 4 | 42 | A | 22
R05 | Row A | 5 | 42 | A | 22
R06 | Row B | 1 | 42 | B | 12
R07 | Row B | 2 | 42 | B | 12
R08 | Row B | 3 | 42 | B | 12
R09 | Row B | 4 | 42 | B | 12
R10 | Row B | 5 | 42 | B | 12
R11 | Row C | 1 | 42 | A | 8
R12 | Row C | 2 | 42 | A | 8
R13 | Row C | 3 | 42 | A | 8
Note on A1: Same rack names as in Devices
Note on B1: Row name. Racks in the same row stand side by side
Note on C1: Order in the row: 1, 2, 3 …
Note on D1: Default 42
Note on E1: Aisle the rack front faces: A or B. Empty = rows alternate automatically (hot/cold aisle)
Note on F1: Design power for this rack, if known

## Power
name | type | rating | fed_from | feed | rack | voltage | phases | model
Utility | utility | 1000 kW |  |  |  | 400 V | 3
Generator | generator | 500 kW |  |  |  | 400 V | 3 | Cummins C550D5
ATS | ATS | 800 A | Utility; Generator |  |  | 400 V | 3
UPS-A | UPS | 160 kVA | ATS | A |  | 400 V | 3 | Eaton 93PM 160
UPS-B | UPS | 160 kVA | ATS | B |  | 400 V | 3 | Eaton 93PM 160
Panel-A | panel | 250 A | UPS-A | A |  | 400 V | 3
Panel-B | panel | 250 A | UPS-B | B |  | 400 V | 3
PDU-R01-A | PDU | 32 A | Panel-A | A | R01 | 400 V | 3 | APC AP8886
PDU-R01-B | PDU | 32 A | Panel-B | B | R01 | 400 V | 3 | APC AP8886
PDU-R02-A | PDU | 32 A | Panel-A | A | R02 | 400 V | 3 | APC AP8886
PDU-R02-B | PDU | 32 A | Panel-B | B | R02 | 400 V | 3 | APC AP8886
PDU-R03-A | PDU | 32 A | Panel-A | A | R03 | 400 V | 3 | APC AP8886
PDU-R03-B | PDU | 32 A | Panel-B | B | R03 | 400 V | 3 | APC AP8886
PDU-R04-A | PDU | 32 A | Panel-A | A | R04 | 400 V | 3 | APC AP8886
PDU-R04-B | PDU | 32 A | Panel-B | B | R04 | 400 V | 3 | APC AP8886
PDU-R05-A | PDU | 40 A | Panel-A | A | R05 | 230 V | 1 | APC AP8861
PDU-R05-B | PDU | 40 A | Panel-B | B | R05 | 230 V | 1 | APC AP8861
PDU-R06-A | PDU | 32 A | Panel-A | A | R06 | 400 V | 3 | APC AP8886
PDU-R06-B | PDU | 32 A | Panel-B | B | R06 | 400 V | 3 | APC AP8886
PDU-R07-A | PDU | 32 A | Panel-A | A | R07 | 400 V | 3 | APC AP8886
PDU-R07-B | PDU | 32 A | Panel-B | B | R07 | 400 V | 3 | APC AP8886
PDU-R08-A | PDU | 32 A | Panel-A | A | R08 | 400 V | 3 | APC AP8886
PDU-R08-B | PDU | 32 A | Panel-B | B | R08 | 400 V | 3 | APC AP8886
PDU-R09-A | PDU | 32 A | Panel-A | A | R09 | 400 V | 3 | APC AP8886
PDU-R09-B | PDU | 32 A | Panel-B | B | R09 | 400 V | 3 | APC AP8886
PDU-R10-A | PDU | 32 A | Panel-A | A | R10 | 400 V | 3 | APC AP8886
PDU-R10-B | PDU | 32 A | Panel-B | B | R10 | 400 V | 3 | APC AP8886
PDU-R11-A | PDU | 16 A | Panel-A | A | R11 | 230 V | 1 | APC AP8858
PDU-R11-B | PDU | 16 A | Panel-B | B | R11 | 230 V | 1 | APC AP8858
PDU-R12-A | PDU | 16 A | Panel-A | A | R12 | 230 V | 1 | APC AP8858
PDU-R12-B | PDU | 16 A | Panel-B | B | R12 | 230 V | 1 | APC AP8858
PDU-R13-A | PDU | 16 A | Panel-A | A | R13 | 230 V | 1 | APC AP8858
PDU-R13-B | PDU | 16 A | Panel-B | B | R13 | 230 V | 1 | APC AP8858
Note on A1: Utility feed, generator, UPS, panel, breaker or PDU. If it is mounted in a rack, also list it in Devices with the same name
Note on B1: utility, generator, UPS, panel, breaker, PDU, power strip, smart plug
Note on C1: Number with unit: 11 kVA, 16 A, 22 kW
Note on D1: Name of the item above it in the chain
Note on E1: Feed letter: A or B
Note on F1: Rack it sits in or supplies (for PDUs)
Note on G1: e.g. 230 V, 400 V, 120 V
Note on H1: 1 or 3

## Networks
vlan | name | purpose | subnet
10 | Servers | servers | 10.10.0.0/16
20 | Storage | storage | 10.20.0.0/16
30 | AI | AI fabric | 10.30.0.0/16
40 | Management | out-of-band | 10.40.0.0/16
100 | Transit | internet edge | 192.0.2.0/29
Note on A1: VLAN id
Note on C1: servers, storage, management, IoT, guest, AI fabric …
Note on D1: Optional, e.g. 10.0.10.0/24

## Cooling
name | type | capacity_kw | serves | model
AC-1 | CRAH | 90 | Row A | Vertiv PEX4
AC-2 | CRAH | 90 | Row B | Vertiv PEX4
AC-3 | CRAH | 40 | Row C | Vertiv PEX4
Note on B1: CRAH, CRAC, in-row, rear-door, CDU, split AC
Note on C1: Cooling capacity
Note on D1: Rows or racks it cools, separated by ;

## Readings
time | item | metric | value
2026-10-13 14:00 | gpu-0401 | power_w | 7350
2026-10-13 14:00 | gpu-0402 | power_w | 7120
2026-10-13 14:00 | k8s-0101 | power_w | 285
2026-10-13 14:00 | PDU-R04-A | current_a | 21.5
2026-10-13 14:00 | PDU-R04-B | current_a | 20.9
2026-10-13 14:00 | PDU-R01-A | current_a | 3.2
2026-10-13 14:00 | PDU-R05-A | current_a | 34.8
2026-10-13 14:00 | PDU-R05-B | current_a | 33.9
2026-10-13 14:00 | spine-01:Eth1/7 | link_mbps | 92000
2026-10-13 14:00 | spine-01:Eth1/1 | link_mbps | 31000
2026-10-13 14:00 | spine-02:Eth1/1 | link_mbps | 28000
2026-10-13 14:00 | leaf-r02a:Eth1/5 | port_errors | 1834
2026-10-13 14:00 | R01 | inlet_temp_c | 23.8
2026-10-13 14:00 | R04 | inlet_temp_c | 26.9
Note on A1: Date and time, e.g. 2026-10-01 14:00
Note on B1: Device, rack, power item or sensor name; for a port use device:port, e.g. sw-core:SFP+1
Note on C1: power_w, current_a, inlet_temp_c, outlet_temp_c, humidity_pct, link_mbps, port_errors, gpu_util_pct, tokens_per_s …
Note on D1: Number